## CiproflaxacinD8-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
CiproflaxacinD8-2 |  | Average RF | Equal | Ignore | Average Response Factor = 958188
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 958188 | 561065.9915 | 30270.6882 | NA | NA | 4.1336 | 1.0082 | -0.0336 | 260.7844 | 3.9293 | 4.8946 | 251.3449 | 144.2807 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 486300.562 | 24673.8328 | NA | NA | 4.0979 | 0.99948 | 0.002133 | 216.8175 | 3.9288 | 4.9149 | 333.7867 | 174.4762 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.699 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 475192.5353 | 26717.1691 | NA | NA | 4.1331 | 1.0081 | -0.033117 | 182.907 | 3.9291 | 4.7881 | 430.212 | 5.6545 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.7014 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 744327.2149 | 44275.1326 | NA | NA | 4.1333 | 1.0081 | -0.033283 | 310.6028 | 3.9148 | 4.8099 | 214.809 | 46.8682 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.7007 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 801760.1424 | 44985.8421 | NA | NA | 4.1326 | 1.008 | -0.032617 | 258.3301 | 3.9429 | 4.872 | 310.9013 | 263.3617 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7018 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 472121.1359 | 28038.4163 | NA | NA | 4.1124 | 1.003 | -0.012417 | 208.0321 | 3.9574 | 4.64 | 410.1748 | 147.5006 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.6986 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 433451.7117 | 25779.8572 | NA | NA | 4.1542 | 1.0132 | -0.0542 | 194.0775 | 3.957 | 4.7031 | 328.2822 | 351.5572 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.6988 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Ciprofloxacin-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Ciprofloxacin-1 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 43.2265 |  | NA | NA |  | Response High | 2.6165 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 1129398.5532 | 55794.4967 | 431639.9271 | 21100.7613 | 4.1319 | 1.0078 | -0.031866 | 405.1643 | 3.9979 | 4.7873 | 185.453 | 3608.9398 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 73.203 |  | NA | NA |  | Response High | 4.4296 | Area |  | 1766800.912 | 84995.1289 | 398864.1197 | 19081.4605 | 4.1313 | 1.0076 | -0.031267 | 483.1188 | 3.9835 | 4.8496 | 374.2613 | 3048.7777 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 115.7569 |  | NA | NA |  | Response High | 7.0033 | Area |  | 2944262.9499 | 146228.2317 | 420408.2764 | 20063.5796 | 4.1314 | 1.0077 | -0.031383 | 652.9454 | 3.9838 | 4.8496 | 1102.2396 | 4533.9241 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 151.0537 |  | NA | NA |  | Response High | 9.1382 | Area |  | 4096748.6712 | 199355.3471 | 448311.5628 | 22123.9767 | 4.1316 | 1.0077 | -0.03155 | 952.3981 | 3.9836 | 4.8505 | 616.8192 | 8333.1076 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 246.7952 |  | NA | NA |  | Response High | 14.9288 | Area |  | 7923606.0714 | 402750.3364 | 530758.1173 | 26855.7764 | 4.152 | 1.0127 | -0.051967 | 1187.1688 | 4.0114 | 4.8491 | 910.3363 | 10838.3291 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 277.9771 |  | NA | NA |  | Response High | 16.8148 | Area |  | 6905656.0576 | 340387.0246 | 410689.1209 | 20685.5951 | 4.153 | 1.0129 | -0.052984 | 866.5636 | 3.9979 | 4.9129 | 834.0306 | 7589.0599 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 382.1833 |  | NA | NA |  | Response High | 23.1174 | Area |  | 8143538.5571 | 398228.4524 | 352268.2094 | 17063.2788 | 4.1525 | 1.0128 | -0.052467 | 1119.5332 | 4.0117 | 4.8493 | 2098.9219 | 17569.6997 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Ciprofloxacin-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Ciprofloxacin-2 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 30.8978 |  | NA | NA |  | Response High | 1.8709 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 1049677.9291 | 52698.9982 | 561065.9915 | 30270.6882 | 4.1301 | 1.0073 | -0.030134 | 340.7367 | 3.9962 | 4.7856 | 245.6589 | 2752.0846 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 57.0288 |  | NA | NA |  | Response High | 3.4513 | Area |  | 1678381.4836 | 80350.3986 | 486300.562 | 24673.8328 | 4.1295 | 1.0072 | -0.029533 | 444.2622 | 3.9818 | 4.8479 | 212.6653 | 2752.1901 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 97.8362 |  | NA | NA |  | Response High | 5.9195 | Area |  | 2812878.8752 | 136197.8676 | 475192.5353 | 26717.1691 | 4.1297 | 1.0072 | -0.02965 | 508.9454 | 3.982 | 4.8479 | 444.5369 | 4343.3397 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 87.1039 |  | NA | NA |  | Response High | 5.2703 | Area |  | 3922855.4961 | 188011.3981 | 744327.2149 | 44275.1326 | 4.1509 | 1.0124 | -0.050917 | 744.3189 | 3.9959 | 4.912 | 1464.759 | 5464.1581 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 156.2025 |  | NA | NA |  | Response High | 9.4496 | Area |  | 7576299.5251 | 390555.0347 | 801760.1424 | 44985.8421 | 4.1502 | 1.0123 | -0.050233 | 1434.5244 | 4.0097 | 4.8474 | 928.5376 | 10542.2607 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 228.7644 |  | NA | NA |  | Response High | 13.8383 | Area |  | 6533353.8603 | 329038.051 | 472121.1359 | 28038.4163 | 4.1512 | 1.0125 | -0.05125 | 851.919 | 4.0102 | 4.8478 | 1782.9082 | 10151.319 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 303.7168 |  | NA | NA |  | Response High | 18.3716 | Area |  | 7963199.1669 | 383191.7029 | 433451.7117 | 25779.8572 | 4.1718 | 1.0175 | -0.071833 | 1161.7694 | 4.01 | 4.9746 | 1575.7762 | 6504.7937 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## CiprofloxacinD8-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
CiprofloxacinD8-1 |  | Average RF | Equal | Ignore | Average Response Factor = 635295
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 635295 | 431639.9271 | 21100.7613 | NA | NA | 4.1565 | 1.0138 | -0.056517 | 248.0678 | 3.9873 | 4.8541 | 170.439 | 0 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 398864.1197 | 19081.4605 | NA | NA | 4.1137 | 1.0033 | -0.01365 | 174.9429 | 3.9729 | 4.8108 | 158.3619 | 711.4028 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 420408.2764 | 20063.5796 | NA | NA | 4.1349 | 1.0085 | -0.03485 | 178.4063 | 3.9729 | 4.8955 | 192.1746 | 129.9701 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 448311.5628 | 22123.9767 | NA | NA | 4.1139 | 1.0034 | -0.013883 | 170.8519 | 3.9731 | 4.8116 | 107.2573 | 753.6897 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 530758.1173 | 26855.7764 | NA | NA | 4.1132 | 1.0032 | -0.01325 | 308.5043 | 4.0008 | 4.6623 | 185.0767 | 2737.6063 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 410689.1209 | 20685.5951 | NA | NA | 4.1353 | 1.0086 | -0.03535 | 225.8632 | 3.9873 | 4.8741 | 94.2653 | 646.6384 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 352268.2094 | 17063.2788 | NA | NA | 4.1349 | 1.0085 | -0.03485 | 197.1957 | 4.0011 | 4.7895 | 163.3855 | 942.2977 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Imidacloprid-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Imidacloprid-1 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 23.8121 |  | NA | NA |  | Response High | 1.4423 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 2379422.3603 | 150596.3077 | 1649738.1429 | 99674.306 | 4.2639 | 0.99161 | 0.036083 | 815.0402 | 3.9188 | 4.6866 | 505.6298 | 827.5819 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 38.0612 |  | NA | NA |  | Response High | 2.3041 | Area |  | 3953508.0764 | 241806.2991 | 1715843.877 | 104848.9225 | 4.242 | 0.9865 | 0.05805 | 890.4447 | 3.9042 | 4.7069 | 1381.1294 | 1288.054 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 59.7774 |  | NA | NA |  | Response High | 3.6176 | Area |  | 5755956.8465 | 372700.2442 | 1591111.9205 | 101621.6617 | 4.2631 | 0.99143 | 0.036867 | 1072.3764 | 3.9045 | 4.6858 | 1791.0607 | 2216.6737 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 74.0999 |  | NA | NA |  | Response High | 4.4838 | Area |  | 7292099.0987 | 474486.3078 | 1626310.6311 | 106065.9034 | 4.2636 | 0.99154 | 0.036383 | 1801.2532 | 3.9183 | 4.7076 | 3526.6631 | 2758.016 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 108.7244 |  | NA | NA |  | Response High | 6.578 | Area |  | 12720186.9439 | 784411.3443 | 1933746.6936 | 118337.7039 | 4.2837 | 0.99621 | 0.016283 | 3424.4129 | 3.9323 | 4.7066 | 4267.1718 | 6935.1487 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 148.9247 |  | NA | NA |  | Response High | 9.0094 | Area |  | 16098262.373 | 1022296.5958 | 1786828.0263 | 110255.676 | 4.2638 | 0.99158 | 0.036217 | 3605.6846 | 3.9327 | 4.6857 | 6376.3042 | 8503.6225 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 183.5718 |  | NA | NA |  | Response High | 11.1049 | Area |  | 20283628.9055 | 1269574.6153 | 1826540.3319 | 113108.5328 | 4.2842 | 0.99633 | 0.015767 | 3791.6776 | 3.9322 | 4.7279 | 6746.201 | 9291.458 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Imidacloprid-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Imidacloprid-2 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 25.9369 |  | NA | NA |  | Response High | 1.5708 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 1904341.4896 | 119501.0703 | 1212325.9131 | 76271.5755 | 4.2656 | 0.99201 | 0.03435 | 576.3711 | 3.9205 | 4.6884 | 483.3613 | 281.0569 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 42.1698 |  | NA | NA |  | Response High | 2.5526 | Area |  | 3192167.2579 | 201567.6237 | 1250545.6906 | 77559.6269 | 4.2648 | 0.99181 | 0.035217 | 939.065 | 3.906 | 4.6663 | 1088.1695 | 1189.5525 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 65.6203 |  | NA | NA |  | Response High | 3.971 | Area |  | 4618476.9054 | 305258.8781 | 1163063.5303 | 74535.478 | 4.2438 | 0.98693 | 0.056217 | 1981.505 | 3.9062 | 4.6663 | 1765.8906 | 2044.3417 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 81.9948 |  | NA | NA |  | Response High | 4.9613 | Area |  | 5864682.9259 | 381358.7758 | 1182079.1712 | 76347.5194 | 4.2654 | 0.99194 | 0.03465 | 1360.7498 | 3.92 | 4.6881 | 2601.7537 | 2470.6366 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 123.3595 |  | NA | NA |  | Response High | 7.4632 | Area |  | 10319438.3121 | 649823.4627 | 1382716.2977 | 84443.2324 | 4.2854 | 0.99662 | 0.01455 | 2862.0621 | 3.9341 | 4.687 | 3991.7357 | 5672.17 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 164.1662 |  | NA | NA |  | Response High | 9.9312 | Area |  | 12857031.973 | 816476.5029 | 1294604.167 | 80382.1937 | 4.2655 | 0.99198 | 0.034483 | 2124.3914 | 3.9345 | 4.6663 | 5948.4031 | 6989.7568 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 208.145 |  | NA | NA |  | Response High | 12.5912 | Area |  | 16356602.2375 | 1029071.719 | 1299051.2476 | 82352.819 | 4.286 | 0.99674 | 0.014034 | 3896.31 | 3.9339 | 4.7083 | 5754.086 | 9760.5333 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## ImidaclopridD4-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
ImidaclopridD4-1 |  | Average RF | Equal | Ignore | Average Response Factor = 1.44855e+006
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 1.44855e+006 | 1649738.1429 | 99674.306 | NA | NA | 4.248 | 0.9879 | 0.05205 | 457.4915 | 3.9097 | 4.6707 | 655.0308 | 220.3667 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1715843.877 | 104848.9225 | NA | NA | 4.226 | 0.98279 | 0.073983 | 625.9093 | 3.8811 | 4.6486 | 415.0414 | 419.8418 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1591111.9205 | 101621.6617 | NA | NA | 4.2473 | 0.98773 | 0.05275 | 612.9045 | 3.8813 | 4.6064 | 458.1183 | 440.4915 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1626310.6311 | 106065.9034 | NA | NA | 4.2477 | 0.98783 | 0.052317 | 769.7363 | 3.8954 | 4.6705 | 659.1198 | 618.7379 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1933746.6936 | 118337.7039 | NA | NA | 4.2678 | 0.99252 | 0.032167 | 779.3986 | 3.9094 | 4.6692 | 463.1069 | 523.2661 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1786828.0263 | 110255.676 | NA | NA | 4.2478 | 0.98787 | 0.05215 | 807.344 | 3.9098 | 4.6698 | 706.4849 | 428.0137 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1826540.3319 | 113108.5328 | NA | NA | 4.2683 | 0.99263 | 0.031683 | 847.5458 | 3.9092 | 4.7118 | 701.596 | 502.5944 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## ImidaclopridD4-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
ImidaclopridD4-2 |  | Average RF | Equal | Ignore | Average Response Factor = 1.07105e+006
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 1.07105e+006 | 1212325.9131 | 76271.5755 | NA | NA | 4.2462 | 0.98749 | 0.053783 | 484.1279 | 3.908 | 4.6901 | 425.1813 | 313.4909 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1250545.6906 | 77559.6269 | NA | NA | 4.2243 | 0.98239 | 0.075717 | 621.6094 | 3.8793 | 4.6468 | 239.4774 | 266.596 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1163063.5303 | 74535.478 | NA | NA | 4.2455 | 0.98733 | 0.054483 | 707.2304 | 3.8796 | 4.668 | 493.6035 | 339.9491 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1182079.1712 | 76347.5194 | NA | NA | 4.2459 | 0.98743 | 0.05405 | 476.6383 | 3.8937 | 4.711 | 318.9205 | 163.6192 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1382716.2977 | 84443.2324 | NA | NA | 4.2661 | 0.99212 | 0.0339 | 461.416 | 3.9076 | 4.71 | 320.5505 | 124.3383 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1294604.167 | 80382.1937 | NA | NA | 4.2461 | 0.98747 | 0.053883 | 644.2767 | 3.8941 | 4.6891 | 170.6767 | 332.0654 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 1299051.2476 | 82352.819 | NA | NA | 4.2877 | 0.99714 | 0.012317 | 448.9446 | 3.9216 | 4.7101 | 365.9835 | 46.8305 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Azithromycin-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Azithromycin-1 |  |  |  |  | NA
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | NA |  | NA | NA |  | Response Low | 1.7497 | Area | NA | 876080.1311 | 101595.3963 | 500700.9936 | 60340.5562 | 5.0953 | 0.99909 | 0.0046664 | 896.5771 | 4.9897 | 5.4813 | -16.5466 | 589.8142 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | NA |  | NA | NA |  | Response Low | 3.117 | Area |  | 2083220.7003 | 257386.6247 | 668337.2875 | 84698.2772 | 5.0732 | 0.99475 | 0.02675 | 1463.3752 | 4.9888 | 5.4593 | 659.6899 | 2210.8884 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | NA |  | NA | NA |  | Response Low | 4.4417 | Area |  | 2347578.5133 | 265198.5971 | 528529.9837 | 60051.2451 | 5.0732 | 0.99475 | 0.026783 | 1465.7174 | 4.9887 | 5.4659 | 655.7851 | 2278.0526 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | NA |  | NA | NA |  | Response Low | 6.094 | Area |  | 2948490.0145 | 347505.5065 | 483838.1011 | 57212.0285 | 5.074 | 0.9949 | 0.026017 | 2296.4279 | 4.9893 | 5.4885 | 242.6991 | 2917.5236 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | NA |  | NA | NA |  | Response Low | 8.121 | Area |  | 3634240.3442 | 462393.332 | 447511.6745 | 58171.1966 | 5.0939 | 0.99881 | 0.0060664 | 2449.4609 | 5.0093 | 5.4801 | -5.9612 | 3530.5234 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | NA |  | NA | NA |  | Response Low | 10.2043 | Area |  | 8696666.87 | 1092973.992 | 852252.7074 | 104553.7487 | 5.0943 | 0.99888 | 0.0057331 | 3827.6094 | 5.0097 | 5.4879 | 4510.7726 | 10457.8692 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | NA |  | NA | NA |  | Response Low | 12.3569 | Area |  | 9178732.5424 | 1035033.5724 | 742802.7821 | 88191.7804 | 5.0942 | 0.99886 | 0.0058332 | 3665.4048 | 5.0097 | 5.4806 | -42.9918 | 9737.2221 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Azithromycin-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Azithromycin-2 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 31.1623 |  | NA | NA |  | Response High | 1.8869 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 403360.6001 | 49486.343 | 213773.4067 | 24873.9342 | 5.0759 | 0.99528 | 0.024067 | 729.9356 | 4.9914 | 5.4903 | -0.063674 | 243.3666 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 52.395 |  | NA | NA |  | Response High | 3.1711 | Area |  | 944969.8284 | 117134.9344 | 297997.9346 | 37314.5788 | 5.075 | 0.99509 | 0.025017 | 863.837 | 4.9905 | 5.4972 | 404.4335 | 852.3876 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 74.6533 |  | NA | NA |  | Response High | 4.5173 | Area |  | 1064561.4458 | 119923.5233 | 235663.4411 | 26897.5264 | 5.075 | 0.99509 | 0.02505 | 1474.6524 | 4.9904 | 5.4531 | 661.5448 | 1057.9227 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 99.1685 |  | NA | NA |  | Response High | 6 | Area |  | 1334278.8022 | 157189.3398 | 222378.5463 | 26663.1297 | 5.0757 | 0.99524 | 0.024284 | 1281.0962 | 4.9911 | 5.4686 | 204.2904 | 1373.1783 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 131.6056 |  | NA | NA |  | Response High | 7.9619 | Area |  | 1600666.0618 | 210247.3537 | 201040.5422 | 25377.0759 | 5.0957 | 0.99915 | 0.0043331 | 1485.0247 | 5.0111 | 5.4892 | -2.8976 | 1452.5834 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 173.5927 |  | NA | NA |  | Response High | 10.5014 | Area |  | 4075562.2838 | 502553.3172 | 388097.6885 | 48278.7898 | 5.096 | 0.99922 | 0.0039998 | 3228.3275 | 5.0114 | 5.4823 | 2598.9256 | 4301.3261 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 209.7405 |  | NA | NA |  | Response High | 12.6877 | Area |  | 4170608.9884 | 477710.7077 | 328713.1162 | 38232.7139 | 5.0959 | 0.9992 | 0.0040999 | 2170.1244 | 5.0114 | 5.5038 | 179.9583 | 4141.3879 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## AzithromycinD3-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
AzithromycinD3-1 |  | Average RF | Equal | Ignore | Average Response Factor = 687307
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 687307 | 500700.9936 | 60340.5562 | NA | NA | 5.0777 | 0.99562 | 0.02235 | 615.4645 | 4.9932 | 5.463 | -0.45867 | 401.0259 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 668337.2875 | 84698.2772 | NA | NA | 5.0767 | 0.99543 | 0.023283 | 1075.1795 | 4.9922 | 5.4627 | 409.1758 | 735.7044 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 528529.9837 | 60051.2451 | NA | NA | 5.0767 | 0.99543 | 0.023316 | 775.4138 | 4.9922 | 5.4622 | 491.7558 | 651.3876 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 483838.1011 | 57212.0285 | NA | NA | 5.0774 | 0.99558 | 0.022566 | 701.84 | 4.9928 | 5.463 | 136.1515 | 305.2375 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 447511.6745 | 58171.1966 | NA | NA | 5.0974 | 0.99949 | 0.0026165 | 648.2953 | 5.0128 | 5.491 | 32.4414 | 520.3318 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 852252.7074 | 104553.7487 | NA | NA | 5.0977 | 0.99955 | 0.0022832 | 883.7835 | 5.0132 | 5.4841 | 961.2978 | 882.001 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 742802.7821 | 88191.7804 | NA | NA | 5.0976 | 0.99954 | 0.0023666 | 799.709 | 5.0131 | 5.4697 | 73.4748 | 1074.5944 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## AzithromycinD3-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
AzithromycinD3-2 |  | Average RF | Equal | Ignore | Average Response Factor = 318611
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 318611 | 213773.4067 | 24873.9342 | NA | NA | 5.0794 | 0.99596 | 0.020617 | 429.3625 | 4.9949 | 5.4719 | -0.69399 | 38.619 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 297997.9346 | 37314.5788 | NA | NA | 5.0785 | 0.99577 | 0.02155 | 649.3435 | 4.9939 | 5.5006 | 371.8639 | 79.6645 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 235663.4411 | 26897.5264 | NA | NA | 5.0784 | 0.99577 | 0.021583 | 717.4579 | 4.9728 | 5.4854 | -0.17897 | 25.7836 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 222378.5463 | 26663.1297 | NA | NA | 5.0792 | 0.99592 | 0.020833 | 462.6211 | 4.9945 | 5.4865 | 96.8696 | 81.1245 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 201040.5422 | 25377.0759 | NA | NA | 5.0991 | 0.99983 | 0.0008832 | 459.283 | 5.0145 | 5.5071 | 17.4621 | 17.5457 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 388097.6885 | 48278.7898 | NA | NA | 5.0995 | 0.99989 | 0.00054989 | 635.0119 | 4.9938 | 5.4786 | -6.5882 | 73.5327 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 328713.1162 | 38232.7139 | NA | NA | 5.0994 | 0.99988 | 0.00063334 | 529.2264 | 5.0149 | 5.4929 | 61.1917 | 52.4588 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Diclofenac-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Diclofenac-1 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 27.9693 |  | NA | NA |  | Response High | 1.6937 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 284151.6895 | 95609.3442 | 167765.736 | 50249.007 | 6.7385 | 0.99096 | 0.061467 | 3699.1642 | 6.6776 | 6.8963 | 173.5614 | 707.7692 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 39.3971 |  | NA | NA |  | Response High | 2.3849 | Area |  | 483931.6847 | 161219.4538 | 202913.1769 | 59577.5684 | 6.7253 | 0.98901 | 0.0747 | 6351.3129 | 6.6646 | 6.8832 | 245.84 | 1153.0238 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 52.642 |  | NA | NA |  | Response High | 3.186 | Area |  | 828109.8332 | 277904.1887 | 259921.396 | 76693.2065 | 6.7252 | 0.989 | 0.074766 | 7291.3702 | 6.6768 | 6.8952 | 2662.1752 | 2419.0212 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 62.0173 |  | NA | NA |  | Response High | 3.753 | Area |  | 1149404.5732 | 387016.2197 | 306259.4721 | 92673.8544 | 6.7391 | 0.99105 | 0.060883 | 10955.6373 | 6.6783 | 6.8969 | 971.6825 | 3326.6182 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 78.0942 |  | NA | NA |  | Response High | 4.7254 | Area |  | 1993822.7958 | 649208.7267 | 421936.3278 | 124041.6167 | 6.7727 | 0.99599 | 0.027267 | 13985.3593 | 6.7121 | 6.9065 | 4029.9908 | 5982.1176 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 86.5525 |  | NA | NA |  | Response High | 5.237 | Area |  | 2466405.2517 | 814779.6578 | 470958.5799 | 140656.5077 | 6.7493 | 0.99254 | 0.050733 | 18236.1509 | 6.7007 | 6.9068 | 6310.2779 | 6573.2275 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 90.2756 |  | NA | NA |  | Response High | 5.4622 | Area |  | 3373051.3264 | 1122532.0449 | 617529.6086 | 183400.2103 | 6.7622 | 0.99444 | 0.037817 | 20852.3505 | 6.7014 | 6.9202 | 1642.7596 | 8638.6421 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Diclofenac-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Diclofenac-2 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | NA |  | NA | NA |  |  | NF | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 19294.9625 | 6107.2992 | ?? | ?? | 6.7403 | 0.99121 | 0.05975 | 941.2591 | 6.6793 | 6.898 | 6.8905 | 29.096 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | NA |  | NA | NA |  |  | NF | Area |  | 32964.914 | 10399.4896 | ?? | ?? | 6.727 | 0.98927 | 0.072983 | 1158.5997 | 6.6664 | 6.8727 | 20.2173 | 70.1795 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | NA |  | NA | NA |  |  | NF | Area |  | 53977.8915 | 16846.0087 | ?? | ?? | 6.727 | 0.98926 | 0.073033 | 2025.6197 | 6.6663 | 6.8848 | 36.1771 | 97.4249 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | NA |  | NA | NA |  |  | NF | Area |  | 68784.77 | 21530.8242 | ?? | ?? | 6.7408 | 0.9913 | 0.05915 | 1764.5647 | 6.6801 | 6.8866 | 90.9323 | 153.1479 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | NA |  | NA | NA |  |  | NF | Area |  | 110826.9913 | 34312.233 | ?? | ?? | 6.7622 | 0.99444 | 0.0378 | 2410.7322 | 6.7018 | 6.9204 | 25.9841 | 228.8477 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | NA |  | NA | NA |  |  | NF | Area |  | 136365.6925 | 43439.6006 | ?? | ?? | 6.751 | 0.99279 | 0.049 | 3758.2781 | 6.6903 | 6.9085 | 63.0177 | 383.1856 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | NA |  | NA | NA |  |  | NF | Area |  | 185164.0783 | 58549.9153 | ?? | ?? | 6.7639 | 0.99469 | 0.036084 | 4134.0896 | 6.7032 | 6.922 | 154.2139 | 510.2807 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## DiclofenacD4-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
DiclofenacD4-1 |  | Average RF | Equal | Ignore | Average Response Factor = 290828
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 290828 | 167765.736 | 50249.007 | NA | NA | 6.7314 | 0.98992 | 0.068567 | 1846.2023 | 6.6708 | 6.9015 | 205.0041 | 370.1084 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 202913.1769 | 59577.5684 | NA | NA | 6.7184 | 0.988 | 0.081633 | 2038.2214 | 6.6578 | 6.8884 | 234.1345 | 376.5937 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 259921.396 | 76693.2065 | NA | NA | 6.7183 | 0.98799 | 0.081667 | 2800.7739 | 6.6578 | 6.8883 | 172.3783 | 510.9297 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 306259.4721 | 92673.8544 | NA | NA | 6.7323 | 0.99004 | 0.06775 | 3076.7045 | 6.6713 | 6.8901 | 528.1309 | 742.9191 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 421936.3278 | 124041.6167 | NA | NA | 6.7657 | 0.99495 | 0.034334 | 4354.4553 | 6.6931 | 6.936 | 114.3381 | 965.2203 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 470958.5799 | 140656.5077 | NA | NA | 6.7544 | 0.9933 | 0.04555 | 4544.7414 | 6.6938 | 6.912 | 1247.612 | 1310.8853 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 617529.6086 | 183400.2103 | NA | NA | 6.7554 | 0.99343 | 0.04465 | 5761.3634 | 6.6947 | 6.9254 | 376.7619 | 1454.2324 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## DiclofenacD4-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
DiclofenacD4-2 |  | Average RF | Equal | Ignore | Average Response Factor = 2309.35
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NF |  | NF |  |  |  | NF | Area | Average Response Factor = 2309.35 | NF | NF |  |  | NF | NF | NF | NF | NF | NF | NF | NF | NF | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 0 | 0 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NF |  | NF |  |  |  | NF | Area |  | NF | NF |  |  | NF | NF | NF | NF | NF | NF | NF | NF | NF | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 0 | 0 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NF |  | NF |  |  |  | NF | Area |  | NF | NF |  |  | NF | NF | NF | NF | NF | NF | NF | NF | NF | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 0 | 0 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NF |  | NF |  |  |  | NF | Area |  | NF | NF |  |  | NF | NF | NF | NF | NF | NF | NF | NF | NF | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 0 | 0 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NF |  | NF |  |  |  | NF | Area |  | NF | NF |  |  | NF | NF | NF | NF | NF | NF | NF | NF | NF | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 0 | 0 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NF |  | NF |  |  |  | NF | Area |  | NF | NF |  |  | NF | NF | NF | NF | NF | NF | NF | NF | NF | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 0 | 0 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NF |  | NF |  |  |  | NF | Area |  | NF | NF |  |  | NF | NF | NF | NF | NF | NF | NF | NF | NF | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 0 | 0 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## OxybenzoneD5-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
OxybenzoneD5-1 |  | Average RF | Equal | Ignore | Average Response Factor = 1.76436e+006
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 1.76436e+006 | 3099909.0898 | 911842.2912 | NA | NA | 6.7603 | 0.99417 | 0.039666 | 8310.1153 | 6.6995 | 7.0028 | 4507.4709 | 7969.5244 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 2967057.7904 | 809205.7598 | NA | NA | 6.7472 | 0.99224 | 0.052783 | 4934.3691 | 6.6863 | 6.9896 | 5403.629 | 7773.0898 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 2897984.6444 | 814705.7872 | NA | NA | 6.7473 | 0.99225 | 0.052733 | 6713.4096 | 6.6863 | 6.9652 | 3247.1129 | 7682.104 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 3241128.117 | 975492.5694 | NA | NA | 6.7607 | 0.99422 | 0.0393 | 7778.5137 | 6.7 | 6.9916 | 8804.5369 | 8753.0549 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 3025665.9512 | 867732.6416 | NA | NA | 6.7823 | 0.9974 | 0.0177 | 5988.3179 | 6.7216 | 7.0375 | 2342.7548 | 7696.5878 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 3083428.6399 | 935957.0921 | NA | NA | 6.7708 | 0.99571 | 0.029183 | 6833.7496 | 6.7102 | 7.0014 | 2541.1881 | 8466.4544 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 3129849.087 | 910507.1622 | NA | NA | 6.784 | 0.99765 | 0.015967 | 5913.1419 | 6.7232 | 7.0269 | 5737.9042 | 8401.4805 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## OxybenzoneD5-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
OxybenzoneD5-2 |  | Average RF | Equal | Ignore | Average Response Factor = 530949
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | 1 | NA |  | NA |  |  |  | NA | NA | Average Response Factor = 530949 | 876472.9385 | 255545.7731 | NA | NA | 6.7586 | 0.99391 | 0.0414 | 3972.4604 | 6.6978 | 7.0132 | 880.0786 | 2441.8052 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 973706.1276 | 288220.1667 | NA | NA | 6.7455 | 0.99198 | 0.054517 | 3272.5447 | 6.6846 | 6.9879 | 1130.3198 | 2416.8442 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | 1 | NA |  | NA |  |  |  | NA | NA |  | 888158.3047 | 269221.8298 | NA | NA | 6.7455 | 0.99199 | 0.054467 | 3909.6365 | 6.6846 | 6.9999 | 634.6841 | 2376.5663 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 877703.473 | 253544.333 | NA | NA | 6.759 | 0.99397 | 0.041033 | 3523.6772 | 6.6982 | 6.9898 | 1788.6135 | 2325.424 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 907434.2108 | 241722.7835 | NA | NA | 6.7806 | 0.99714 | 0.019433 | 2994.5458 | 6.7199 | 7.0722 | 524.383 | 1960.3452 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | 1 | NA |  | NA |  |  |  | NA | NA |  | 875577.5842 | 246876.1382 | NA | NA | 6.7691 | 0.99545 | 0.030917 | 3246.8453 | 6.7085 | 7.024 | 504.7243 | 1974.8126 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | 1 | NA |  | NA |  |  |  | NA | NA |  | 906785.3196 | 261067.6242 | NA | NA | 6.7823 | 0.9974 | 0.0177 | 3833.8976 | 6.7215 | 7.0372 | 1061.9063 | 2411.9142 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | NA | NA | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## EHMC-1
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
EHMC-1 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 6.4215 |  | NA | NA |  | Response High | 0.39048 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 1210440.0348 | 433485.8874 | 3099909.0898 | 911842.2912 | 8.7103 | 1.0012 | -0.010283 | 3252.2187 | 8.6618 | 8.8399 | 1732.0282 | 3757.0747 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 5.8683 |  | NA | NA |  | Response High | 0.35702 | Area |  | 1059292.1092 | 392007.7934 | 2967057.7904 | 809205.7598 | 8.694 | 0.99931 | 0.0059998 | 3005.6222 | 8.6496 | 8.8271 | 2864.3822 | 3559.1542 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 7.8183 |  | NA | NA |  | Response High | 0.47496 | Area |  | 1376431.6154 | 488089.6646 | 2897984.6444 | 814705.7872 | 8.6969 | 0.99965 | 0.00305 | 3601.1788 | 8.6522 | 8.8634 | 3869.2642 | 4443.8051 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 8.9744 |  | NA | NA |  | Response High | 0.54488 | Area |  | 1766040.1054 | 687922.9099 | 3241128.117 | 975492.5694 | 8.7101 | 1.0012 | -0.010067 | 5402.3352 | 8.6658 | 8.8359 | 6020.1294 | 5420.6869 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 13.4449 |  | NA | NA |  | Response High | 0.81527 | Area |  | 2466736.8388 | 946236.1945 | 3025665.9512 | 867732.6416 | 8.7304 | 1.0035 | -0.030367 | 5315.1215 | 8.686 | 8.8596 | 7544.1548 | 8319.7513 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 18.8178 |  | NA | NA |  | Response High | 1.1402 | Area |  | 3515826.449 | 1326280.2055 | 3083428.6399 | 935957.0921 | 8.7195 | 1.0022 | -0.019483 | 8642.5706 | 8.6748 | 8.841 | 12289.2009 | 12163.5912 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 23.6744 |  | NA | NA |  | Response High | 1.434 | Area |  | 4488125.3221 | 1700019.338 | 3129849.087 | 910507.1622 | 8.7347 | 1.004 | -0.034734 | 9927.6323 | 8.6865 | 8.8568 | 14157.099 | 14264.8421 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## EHMC-2
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
EHMC-2 |  | Linear | Equal | Ignore | Y = 0.00209021+0.0604824*X R^2 = 0.9956
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
kan300 | Unknown Sample |  | 300 | NA | 10.532 |  | NA | NA |  | Response High | 0.63909 | Area | Y = 0.00209021+0.0604824*X R^2 = 0.9956 | 560146.4349 | 204007.7003 | 876472.9385 | 255545.7731 | 8.712 | 1.0014 | -0.012016 | 2030.7837 | 8.6636 | 8.8751 | 1422.869 | 1772.8761 | BB | 60 | 0 | 5 | 09/17/15 16:31:30 | 9.6993 |  |  | CStk1-01:6 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan500 | Unknown Sample |  | 500 | NA | 8.0362 |  | NA | NA |  | Response High | 0.48814 | Area |  | 475304.412 | 170875.2139 | 973706.1276 | 288220.1667 | 8.6993 | 0.99993 | 0.0006506 | 1815.4804 | 8.6477 | 8.8478 | 731.648 | 1316.5373 | BB | 60 | 0 | 5 | 09/17/15 16:44:28 | 9.6993 |  |  | CStk1-01:7 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan800 | Unknown Sample |  | 800 | NA | 11.2601 |  | NA | NA |  | Response High | 0.68313 | Area |  | 606724.2522 | 221437.6309 | 888158.3047 | 269221.8298 | 8.6948 | 0.99941 | 0.00515 | 2241.0652 | 8.6501 | 8.8468 | 1426.3616 | 1816.1551 | BB | 60 | 0 | 5 | 09/17/15 16:57:24 | 9.699 |  |  | CStk1-01:8 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1000 | Unknown Sample |  | 1000 | NA | 14.7058 |  | NA | NA |  | Response High | 0.89153 | Area |  | 782497.773 | 295638.7611 | 877703.473 | 253544.333 | 8.7118 | 1.0014 | -0.011801 | 2826.3181 | 8.6639 | 8.834 | 1879.799 | 2456.5994 | BB | 60 | 0 | 5 | 09/17/15 17:10:20 | 9.699 |  |  | CStk1-01:9 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan1500 | Unknown Sample |  | 1500 | NA | 20.2095 |  | NA | NA |  | Response High | 1.2244 | Area |  | 1111069.0226 | 420083.5519 | 907434.2108 | 241722.7835 | 8.7321 | 1.0037 | -0.0321 | 3344.1577 | 8.6839 | 8.865 | 2434.3361 | 3309.5045 | BB | 60 | 0 | 5 | 09/17/15 17:23:16 | 9.7014 |  |  | CStk1-01:10 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2000 | Unknown Sample |  | 2000 | NA | 29.4779 |  | NA | NA |  | Response High | 1.785 | Area |  | 1562889.828 | 595669.7937 | 875577.5842 | 246876.1382 | 8.7174 | 1.002 | -0.017383 | 5177.5292 | 8.6729 | 8.8463 | 3417.8693 | 5629.1507 | BB | 60 | 0 | 5 | 09/17/15 17:36:13 | 9.7014 |  |  | CStk1-01:11 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
kan2500 | Unknown Sample |  | 2500 | NA | 35.6573 |  | NA | NA |  | Response High | 2.1587 | Area |  | 1957501.6027 | 726133.0651 | 906785.3196 | 261067.6242 | 8.7329 | 1.0038 | -0.032867 | 6057.171 | 8.6844 | 8.8549 | 4304.325 | 6445.3692 | BB | 60 | 0 | 5 | 09/17/15 17:49:12 | 9.7007 |  |  | CStk1-01:12 | 2000 | 0 | 0 | 1 | 1 | 1 | [5 empty] | AmAc PH5
Created By:
User Name |  | Full Name |  | Date

## Component (hidden)
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Filename | Sample Type | Sample Name | Sample ID | Exp Conc | Calc Conc | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | User Test 1 | User Text 2 | User Text3 | User Text4 | User Text5 | Comment